Tender SIRAX BT5700

Programmable unit with display for heavy current monitoring

For the measurement, monitoring and analysis of power networks

Netform			Three phase, 3-/4-wire-Net unbalanced load

Measurement input			Nominal voltage 57,7…277VLN, 100…480VLL

Nominal currant 1…5A (max. 6A)

45…66Hz

Protection class			II

Measurement category	CATIII 300V

Basic values	Current, neutral current (calculated), voltage, frequency, active / apparent power, power, factors, Min. / Max. Values current / voltage, phase angle

Counter	Active energy Cl.0,5, reactive energy Cl.2, import/export, meters

Network analysis			THD_U, THD_I

Uncerainty 			U,I: 0,5%; P,Q,S: 0,5%; THD: 1,0%

Inputs/Outputs			--

Interface			Modbus/RTU (RS485)

Measured value display	LCD-display

Parameterization			via pushbutton or Modbus/RTU

Power supply			100…250V AC/DC

Housing	Housing for DIN Rail mounting 96x96 (front), installation depth 117mm, IP40 (housing), IP20 (terminals), UL94 V-0

Type			SIRAX BT5700

Manufacturer			Camille Bauer Metrawatt AG

Aargauerstrasse 7

CH-5610 Wohlen

http://www.camillebauer.com